## Sheet1
422662
Sample - 5.265-KW | [6 empty] | 300120 |  | 395000
S.# | Details | Brands | Capacity | Quantity | Client Rate |  | 235000 |  | 242000
1 | Solar Panels N-Type Bifacial | Jinko, JA, Longi Himo-7 or TCL | 585 | 9 | 172428.75 |  | 45000 |  | 215178
2 | Inverters On Grid | Saj or Livoltek | 5ktl | 1 | 138000 |  | 33000 |  | 28600
3 | Structure L-2 & L-1 | GI |  | 4.5 | 29700 |  | 23590 |  | 21099
4 | Breakes & DB Boxes |  |  |  | 28600 |  | 71370 |  | 52052
5 | PVC Material |  |  |  | 21099 |  | 25620 |  | 15555
6 | AC Cable |  |  |  | 7150 | 7150 | 60000 |  | 14500
7 | DC Cable |  |  |  | 32500 | 32500 | 16500 |  | 60000
8 | Earthing Cable |  |  |  | 12402 | 12402 | 7320 |  | 10370
9 | Civil Work |  |  |  | 15795 | 52052 | 25620 |  | 36295
10 | Lightning Arresters |  |  |  | 14500 |  | 10000 |  | 15555
11 | Earthing & Borings |  |  |  | 60000 |  | 853140 |  | 1528866 | 68798.97
12 | Electrical & Mechanical Labor |  |  |  | 18427.5 |  |  |  |  | 1597664.97
13 | Travelling, Transportation & Misc |  |  |  | 5265
14 | Engineering, Designing, Suprvesion, Testing & Commissioning |  |  |  | 7897.5 |  |  |  | 422662
15 | Net Metering (Not included) |  |  |  | 0 |  |  |  | 395000
16 | After sales services |  |  |  | 0 |  |  |  | 242000
[5 empty] | 563764.75 |  |  |  | 215178
33000
Sample - 9.945-KW | [6 empty] | 358020 |  | 38520
S.# | Details | Brands | Capacity | Quantity | Client Rate |  | 455000 |  | 65650 |  | 373320 |  |  | 358020
1 | Solar Panels N-Type Bifacial | Jinko, JA, Longi Himo-7 or TCL | 585 | 17 | 348075 |  | 235000 |  | 15555 |  | 455000 |  |  | 180000
2 | Inverters On Grid | Solis, GoddWe or Fox | 10ktl | 1 | 198000 |  | 215178 |  | 14500 |  | 235000 |  |  | 215178
3 | Structure L-2 & L-1 | GI |  | 8.5 | 56100 |  | 33000 |  | 60000 |  | 215178 |  |  | 36875
4 | Breakes & DB Boxes |  |  |  | 36875 |  | 38520 |  | 10370 |  | 33000 |  |  | 21099
5 | PVC Material |  |  |  | 21099 |  | 65650 |  | 36295 |  | 38520 |  |  | 57850
6 | AC Cable |  |  |  | 7150 | 7150 | 15555 |  | 15555 |  | 65650 |  |  | 29835
7 | DC Cable |  |  |  | 39000 | 39000 | 14500 |  | 1564285 |  | 15555 |  |  | 14500
8 | Earthing Cable |  |  |  | 11700 | 11700 | 60000 |  | 70392.825 |  | 14500 |  |  | 60000
9 | Civil Work |  |  |  | 29835 | 57850 | 10370 |  | 1634677.825 |  | 60000 |  |  | 9945
10 | Lightning Arresters |  |  |  | 14500 |  | 36295 |  |  |  | 10370 |  |  | 34808
11 | Earthing & Borings |  |  |  | 60000 |  | 15555 |  |  |  | 36295 |  |  | 9945
12 | Electrical & Mechanical Labor |  |  |  | 34807.5 |  | 1552643 | 69868.935 | 1692380.87 |  | 15555 |  |  | 46262
13 | Travelling, Transportation & Misc |  |  |  | 9945 |  | 1622511.935 |  |  |  | 1567943 | 70557.435 |  | 1074317 | 48344.265
14 | Engineering, Designing, Suprvesion, Testing & Commissioning |  |  |  | 9945 | [5 empty] | 1638500.435 |  |  | 1122661.265
15 | Net Metering (Not included) |  |  |  | 0
16 | After sales services |  |  |  | 0
877031.5
Sample - 15.210-KW
S.# | Details | Brands | Capacity | Quantity | Client Rate
1 | Solar Panels N-Type Bifacial | Jinko, JA, Longi Himo-7 or TCL | 585 | 26 | 498127.5
2 | Inverters On Grid | Solis, GoddWe or Fox | 15ktl | 1 | 243000
3 | Structure L-2 & L-1 | GI |  | 13 | 85800
4 | Breakes & DB Boxes |  |  |  | 42380
5 | PVC Material |  |  |  | 31512
6 | AC Cable |  |  |  | 12025
7 | DC Cable |  |  |  | 58500
8 | Earthing Cable |  |  |  | 15600
9 | Civil Work |  |  |  | 45630
10 | Lightning Arresters |  |  |  | 14500
11 | Earthing & Borings |  |  |  | 60000
12 | Electrical & Mechanical Labor |  |  |  | 53235
13 | Travelling, Transportation & Misc |  |  |  | 15210
14 | Engineering, Designing, Suprvesion, Testing & Commissioning |  |  |  | 15210
15 | Net Metering (Not included) |  |  |  | 0
16 | After sales services |  |  |  | 0
1190729.5
Sample - 19.890-KW
S.# | Details | Brands | Capacity | Quantity | Client Rate
1 | Solar Panels N-Type Bifacial | Jinko, JA, Longi Himo-7 or TCL | 585 | 34 | 651397.5
2 | Inverters On Grid | Solis, GoddWe or Fox | 20ktl | 1 | 293000
3 | Structure L-2 & L-1 | GI |  | 17 | 112200
4 | Breakes & DB Boxes |  |  |  | 50050
5 | PVC Material |  |  |  | 36972
6 | AC Cable |  |  |  | 28925 | 106925
7 | DC Cable |  |  |  | 78000 | 122525
8 | Earthing Cable |  |  |  | 15600
9 | Civil Work |  |  |  | 59670
10 | Lightning Arresters |  |  |  | 14500
11 | Earthing & Borings |  |  |  | 60000
12 | Electrical & Mechanical Labor |  |  |  | 69615
13 | Travelling, Transportation & Misc |  |  |  | 19890
14 | Engineering, Designing, Suprvesion, Testing & Commissioning |  |  |  | 19890
15 | Net Metering (Not included) |  |  |  | 0
16 | After sales services |  |  |  | 0
1509709.5
Sample - 24.570-KW
S.# | Details | Brands | Capacity | Quantity | Client Rate
1 | Solar Panels N-Type Bifacial | Jinko, JA, Longi Himo-7 or TCL | 585 | 42 | 804667.5
2 | Inverters On Grid | Solis, GoddWe or Fox | 25ktl | 1 | 381000
3 | Structure L-2 & L-1 | GI |  | 21 | 138600
4 | Breakes & DB Boxes |  |  | 1 | 50050
5 | PVC Material |  |  |  | 40807 | 86632
6 | AC Cable |  |  |  | 45825
7 | DC Cable |  |  |  | 104000
8 | Earthing Cable |  |  |  | 15600
9 | Civil Work |  |  |  | 73710
10 | Lightning Arresters |  |  |  | 14500
11 | Earthing & Borings |  |  |  | 60000
12 | Electrical & Mechanical Labor |  |  |  | 85995
13 | Travelling, Transportation & Misc |  |  |  | 24570
14 | Engineering, Designing, Suprvesion, Testing & Commissioning |  |  |  | 24570
15 | Net Metering (Not included) |  |  |  | 0
16 | After sale service |  |  |  | 0
1863894.5
Sample - 50.310-KW
S.# | Details | Brands | Capacity | Quantity | Client Rate
1 | Solar Panels N-Type Bifacial | Jinko, JA, Longi Himo-7 or TCL | 585 | 86 | 1647652.5
2 | Inverters On Grid | Huawei | 5ktl | 1 | 658000
3 | Structure L-2 & L-1 | GI |  | 43 | 283800
4 | Breakes & DB Boxes |  |  | 1 | 59215 | 71058
5 | PVC Material |  |  |  | 64687 | 77624.4
6 | AC Cable |  |  |  | 50765 | 60918
7 | DC Cable |  |  |  | 195000 | 234000
8 | Earthing Cable |  |  |  | 78390 | 94068
9 | Civil Work |  |  |  | 150930 | 388986
10 | Lightning Arresters |  |  |  | 14500 | 717054 | [6 empty] | 574756
11 | Earthing & Borings |  |  |  | 60000 | 72000 | [5 empty] | 8888 | 63737
12 | Electrical & Mechanical Labor |  |  |  | 176085 | 211302 | [5 empty] | 9837 | 826525 | 76363
13 | Travelling, Transportation & Misc |  |  |  | 50310 | 60372 |  |  |  |  | 7687
14 | Engineering, Designing, Suprvesion, Testing & Commissioning |  |  |  | 50310 | 60372 | [6 empty] | 1567793
15 | Net Metering (Not included) |  |  |  | 0
16 | After sale service |  |  |  | 0
3539644.5
Sample - 100.035-KW
S.# | Details | Brands | Capacity | Quantity | Client Rate
1 | Solar Panels N-Type Bifacial | Jinko, JA, Longi Himo-7 or TCL | 585 | 171 | 3276146.25
2 | Inverters On Grid | Huawei | 115 | 1 | 1263000
3 | Structure L-2 | GI |  | 85.5 | 564300
4 | Breakes & DB Boxes |  |  | 1 | 117000
5 | DC Combiner | CNC |  | 1 | 58500
6 | PVC Material |  |  |  | 66443
7 | AC Cable |  |  |  | 123500
8 | DC Cable |  |  |  | 455000
9 | Earthing Cable |  |  |  | 59150
10 | Civil Work |  |  |  | 300105
11 | Lightning Arresters |  |  |  | 24500
12 | Earthing & Borings |  |  |  | 126000
13 | Electrical & Mechanical Labor |  |  |  | 350120.5
14 | Travelling, Transportation & Misc |  |  |  | 100035
15 | Engineering, Designing, Suprvesion, Testing & Commissioning |  |  |  | 100035
16 | Net Metering (Not included) |  |  |  | 0
17 | After sale service |  |  |  | 0
6983834.75
Sample - 249.795-KW
S.# | Details | Brands | Capacity | Quantity | Client Rate
1 | Solar Panels N-Type Bifacial | Jinko, JA, Longi Himo-7 or TCL | 585 | 427 | 8180786.25
2 | Inverters Ongrid | Huawei | 115 | 2 | 2526000
3 | Strcuture Standard L-2 |  |  | 213.5 | 1409100
4 | AC panel |  |  | 1 | 208000
5 | DC Combiner Box |  |  | 2 | 234000
6 | PVC Material |  |  |  | 128115
7 | Cable tray with accessories |  |  |  | 391495
8 | AC Cable |  |  |  | 247000
9 | DC Cable |  |  |  | 1462500
10 | Earthing Cable |  |  |  | 136370
11 | Civil Material and labor |  |  |  | 749385
12 | Lightning Arresters |  |  |  | 49000
13 | Earthing & Borings |  |  |  | 210000
14 | Electrical & Mechanical Labor |  |  |  | 874281.5
15 | Travelling, Transportation & Misc |  |  |  | 187346.25
16 | Engineering, Designing, Suprvesion, Testing & Commissioning |  |  |  | 187346.25
17 | Net Metering (not included) |  |  |  | 0
18 | One Year Free of Cost After Sale Services |  |  |  | 0
17180725.25
Sample - 499.590-KW
S.# | Details | Brands | Capacity | Quantity | Client Rate
1 | Solar Panels N-Type Bifacial | Jinko, JA, Longi Himo-7 or TCL | 585 | 854 | 16361572.5 | 13085426.25
2 | Inverters Ongrid | Huawei | 115 | 4 | 5052000 | 3789000
3 | Strcuture Standerd |  |  | 427 | 2818200 | 2257200
4 | AC panel |  |  | 1 | 437500 | 350287.2355
5 | DC Combiner Box |  |  | 3 | 168750 | 135110.7908
6 | PVC Material |  |  |  | 386062.5 | 309103.4648
7 | Cable tray with accessories |  |  |  | 709375 | 567965.7319
8 | AC Cable |  |  |  | 475000 | 380311.8557
9 | DC Cable |  |  |  | 3437500 | 2752256.8506
10 | Earthing Cable |  |  |  | 61809.5 | 49488.1803
11 | Civil Material and labor |  |  |  | 1498770 | 1200000
12 | Lightning Arresters |  |  |  | 175000 | 175000
13 | Earthing & Borings |  |  |  | 168000 | 168000
14 | Electrical & Mechanical Labor |  |  |  | 1748565 | 1400000
15 | Travelling, Transportation & Misc |  |  |  | 249795 | 200000
16 | Engineering, Designing, Suprvesion, Testing & Commissioning |  |  |  | 249795 | 200000
17 | Net Metering (not included) |  |  |  | 0
18 | One Year Free of Cost After Sale Services |  |  |  | 0
33997694.5
Sapmple - 999.765-KW
S.# | Details | Brands | Capacity | Quantity | Client Rate
1 | Solar Panels N-Type Bifacial Double Glass | Jinko, JA, Longi Himo-7 or TCL | 585 | 1709 | 32742303.75
2 | Inverters Ongrid | Huawei | 115ktl | 7 | 8841000
3 | Inverters Ongrid | Huawei | 50ktl | 1 | 658000
4 | Structure L-2 on roof |  |  | 854.5 | 5639700
5 | AC panel |  |  | 1 | 2062500
6 | DC Combiner Box |  |  | 8 | 400000
7 | PVC Material |  |  |  | 856975
8 | Cable tray with accessories |  |  |  | 1187500
9 | AC Cable |  |  |  | 1068750
10 | DC Cable |  |  |  | 6875000
11 | Earthing Cable |  |  |  | 134500
12 | Civil Work Concrete Blocks |  |  |  | 2999295
13 | Lightning Arresters |  |  |  | 175000
14 | Earthing & Borings |  |  |  | 210000
15 | Complete mechanical Installation, electrification and wiring. |  |  |  | 3499177.5
16 | Travelling, Transportation & Misc |  |  |  | 349917.75
17 | Engineering, Designing, Suprvesion, Testing & Commissioning |  |  |  | 349915.75
18 | Net Metering (not included) |  |  |  | 0
19 | One Year Free of Cost After Sale Services |  |  |  | 0
68049534.75